In accordance with Title 40 of the Code of Federal Regulations ¶ 403.8(f)(2)(iv), it is the procedure of the Muskegon County Wastewater Management System (MCWMS) to require the results of any self-monitoring to be submitted in an Industrial User Self-Monitoring Report.  That report is to be submitted to MCWMS on or before the 15th of the month following the sampling.  A complete submission of that report shall meet the criteria outlined in the following checklist.  That report is to be mailed to Pretreatment Coordinator, MCWMS, 8301 White Road, Muskegon, Michigan, 49442-9414.

| Criteria | Done |
| --- | --- |
| 1. The Permit sample point designation. If there is no Permit sample point designation, then give the exact place of sample collection for each sample. |  |
| 2. Give the dates of each grab sample and the starting and ending dates of each 24-hour composite sample. |  |
| 3. The date of discharge if different from the sample date. |  |
| 4. The method of sampling used in the collection of each samples (i.e., time-proportional composite, flow-proportional composite, grab, etc.). |  |
| 5. If a sample taken was split into two or more samples for independent analyses (i.e., split sample), so indicate that circumstance. |  |
| 6. The preservation techniques used for each sample. |  |
| 7. The date/time of sampling. If a sample is a composite sample, include both a starting time and an ending time. |  |
| 8. If a sample is a composite sample, the interval between sample portions and the amount collected at each interval. |  |
| 9. If the sample is from a refrigerated 24-hour autosampler, provide the temperature in the unit at the time of sampling else indicate if unmelted ice was present in the autosampler at the time of sampling. |  |
| 10. The names of the person or persons taking the sample including the employer of the sampling personnel if that person or persons is not an employee of the Industrial User. |  |
| 11. For industrial users that are subject to mass limits, actual flow volumes are needed for the day and month of sampling. |  |
| 12. The dates each analysis was performed. |  |
| 13. The name of the person who performed the analysis including the employer of that person if he is not an employee of the Industrial User. |  |
| 14. The analytical technique/method used for each test. |  |
| 15. The parameter tested using the correct applicable federal and county terminology. |  |
| 16. The results of such analysis including the method detection limit and units of measure for both. |  |
| 17. If the analytical was performed by another laboratory, provide the date your facility received the results from that laboratory. |  |
| 18. For samples that are not split samples and if the results of the analysis are in noncompliance with a discharge limit, provide the date you notified MCWMS of this noncompliance. |  |
| 19. For samples that are not split samples and if the results of the analysis are in noncompliance with a discharge limit, provide the date you have or intend to resample the noncompliant pollutant. |  |
| 20. The name of the person preparing the self-monitoring report and the date that report was prepared. |  |

H:\WPDATA\Lab\IPP\Forms\SELFMON.010.wpd	May 18, 2006